## Process Capability Analysis
PART NUMBER |  | DISCRIPTION |  | OPERATION |  |  | MACHINE |  | DEPARTMENT
| UPPER SPEC LIMIT |  | 0.03 |  |  |  | NOMINAL |  | 0.015
| LOWER SPEC LIMIT |  | 0 |  |  |  | TOTAL TOLERANCE |  | 0.03
1 | 0.021 | 0.0115 | 0.0202 | 0.0147 | 0.0199 | 0.0146 | 0.0125 | 0.0147 | 0.0212 | 0.0155
2 | 0.0198 | 0.0158 | 0.0204 | 0.0211 | 0.0187 | 0.0168 | 0.0133 | 0.0153 | 0.0198 | 0.0145
3 | 0.0128 | 0.0204 | 0.0122 | 0.0189 | 0.01142 | 0.0198 | 0.0141 | 0.0185 | 0.0147 | 0.0163
4 | 0.0203 | 0.0184 | 0.0167 | 0.0154 | 0.0208 | 0.0187 | 0.0188 | 0.0203 | 0.0136 | 0.0169
5 | 0.0181 | 0.0199 | 0.0228 | 0.0166 | 0.0125 | 0.0161 | 0.0209 | 0.0201 | 0.012 | 0.0174
SUM | 0.092 | 0.086 | 0.0923 | 0.0867 | 0.08332 | 0.086 | 0.0796 | 0.0889 | 0.0813 | 0.0806
AVG | 0.0184 | 0.0172 | 0.01846 | 0.01734 | 0.016664 | 0.0172 | 0.01592 | 0.01778 | 0.01626 | 0.01612
RANGE | 0.0082 | 0.0089 | 0.0106 | 0.0064 | 0.00938 | 0.0052 | 0.0084 | 0.0056 | 0.0092 | 0.0029
|  |  |  | 10 | 0.17134 |  |  |  | 10 | 0.07478
| AVERAGE OF AVERAGE |  |  | 0.017134 |  | AVERAGE OF RANGE |  |  | 0.007478
50
STANDARD DEVIATION OR SIGMA
STANDARD DEVIATION = (SD) = |  |  |  | AVERAGE OF RANGES |  | = | 0.007478 | = | 0.003215
|  |  |  | CONSTANT |  |  | 2.326
|  | 1 SD = |  |  | 3 SD = |  |  | 6 SD =
|  | 0.003215 |  |  | 0.0096449 |  |  | 0.01929
|  | SUBGROUP SIZE |  |  | 2 | 3 | 4 | 5
|  | CONSTANT |  |  | 1.128 | 1.693 | 2.059 | 2.326
CONTROL LIMIT CALCULATION
| RANGE UCL |  | = | CONSTANT * AVERAGE OF RANGE |  |  |  | UCL = | 0.015779
| RANGE LCL |  | = | "NONE" |  |  |  | LCL = | NONE
| PROCESS AVERAGE UCL |  | = | NOMINAL + (CONSTANT * AVE OF RANGE) |  |  |  | UCL = | 0.019337
| PROCESS AVERAGE LCL |  | = | NOMINAL - (CONSTANT * AVE OF RANGE) |  |  |  | LCL = | 0.010663
CONSANTS FOR CONTROL LIMITS
|  | SUB GROUP |  | 2 | 3 | 4 | 5
|  | PROCESS |  | 1.88 | 1.02 | 0.73 | 0.58
|  | RANGE |  | 3.27 | 2.57 | 2.28 | 2.11
CAPABILITY (CP)
(CP) indicates the probable overall spread of results
CP
| CAPABILITY | (CP) | = | TOTAL TOLERANCE |  | = | 0.03 | = | 1.5552
|  |  |  | 6 SD |  |  | 0.01929
CAPABILITY (CPK)
(CPK) is the probable spread of results relative to the setting
| USL - AVERAGE OF AVERAGE |  |  | = | 0.03 | - | 0.017134 | 1.3339
|  | 3SD |  |  |  | 0.0096449 |  |  | CPK
[8 empty] | = | 1.3339
| AVERAGE OF AVERAGE - LSL |  |  | = | 0.017134 | - | 0 | 1.7765
|  | 3SD |  |  |  | 0.0096449
| SIGNED BY : | [5 empty] | DATE :
Scaroni Consulting |  | http:/www.scaroniconsulting.it |  |  |  | info@scaroniconsulting.it

## Gauge R & R
To complete the gauge R & R you require three operators. Operator A, B, and C, plus five components.
These components should vary in size within the tolerance specified on the print.
Number the components 1 to 5
Operator A then measures the five components in random order, recording the sizes against
the corresponding identification number on the sheet
Operator B and C also complete the measuring sequence.
This task is then performed twice more by each operator using the same 5 components.
Note:The operators should not be allowed to see the recordings of the other operators
When the task is completed the information / recordings are then entered onto the computer together
with the tolerance / print size. The computer will then calculate a percentage.
Percentage acceptance guideline |  |  |  | Less than 10% excellent
10% to 30% capable
More than 30% incapable
If the study proves to be incapable i.e. more than 30%, it is possible by looking at the results to
determine whether it is the actual gauge that is incapable or whether an operator is introducing
excessive variation by the way he uses the gauge.
Tolerance
[5 empty] | center | + / - | width
[5 empty] | 20 | 10 | 20
Operator: | A |  |  |  | B |  |  |  | C
Trials: | 1 | 2 | 3 | Range | 1 | 2 | 3 | Range | 1 | 2 | 3 | Range
Part No:
1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Totals: | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
R(operator) bar: |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
Operator Total: |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
X(operator) bar: |  |  |  | 0 |  |  |  | 0 |  |  |  | 0
R(operator) bar bar: |  |  |  | 0 |  | = R(ABC) barbar
R(X(operator) bar): |  |  |  | 0 |  | = R(x bar)
Repeatability = Repeat = R(ABC) barbar * K(1) | [10 empty] | Repeat: | 0
(Repeatability = Equipment Variation)
| number of trials |  | 2 | 3 | 4 | 5
| K(1) |  | 4.56 | 3.05 | 2.5 | 2.21
Reproducibility = Reprod = SQRT [(R(x bar) * K(2))^2 - Repeat^2/((number of parts) * (number of trials))] | [10 empty] | Reprod: | 0
(Reproducibility = Operator Variation) | [5 empty] | If (SQRT < 0), Reprod = 0
| Operator | 2 | 3 | 4 | 5 | number of parts= |  | 5
| K(2) | 3.65 | 2.7 | 2.3 | 2.08 | number of trials= |  | 3
Repeatability & Reproducibility (R&R) = SQRT [(Repeat)^2 + (Reprod)^2] | [10 empty] | R&R: | 0
% R&R = 100*(R&R/tolerance width) | [10 empty] | % R&R: | 0
The equipment variation Takes up
0
of the tolerance width
|  |  |  | % R&R Acceptance |  | > 30 % | 10 - 30 % | < 10 %
|  |  |  | Guidelines |  | Insufficient | Acceptable | Excellent

## Machine Capability Analysis
PART NUMBER |  | OPERATION |  | MACHINE | DEPARTMENT
NUMBER OF | COMPONENT | SQAURE OF
READINGS | DIMENSION SIZE | DIMENSION SIZE
1 | 10 | 100
2 |  | 0 |  | TOLERANCES
3 |  | 0
4 |  | 0 |  | USL
5 |  | 0 |  | LSL
6 |  | 0
7 |  | 0 |  | NOMINAL | 0
8 |  | 0 |  | TOTAL TOL | 0
9 |  | 0
10 |  | 0
11 |  | 0
12 |  | 0 |  | CALCULATIONS
13 |  | 0
14 |  | 0 |  | (X)2 | 100
15 |  | 0 |  |  | 1
16 |  | 0 |  | (X)2/n | 100
17 |  | 0
18 |  | 0
19 |  | 0
20 |  | 0 |  | STANDARD DEVIATION = SD
21 |  | 0 |  |  | 0
22 |  | 0 |  | 1SD | #DIV/0!
23 |  | 0
24 |  | 0 |  | 3SD | #DIV/0!
25 |  | 0
26 |  | 0 |  | 6SD | #DIV/0!
27 |  | 0
28 |  | 0
29 |  | 0
30 |  | 0 |  | CAPABILITY (CM)
31 |  | 0
32 |  | 0 |  | TOTAL TOLERANCE
33 |  | 0 |  | 6SD
34 |  | 0 |  |  | #DIV/0!
35 |  | 0 |  | = CM | #DIV/0!
36 |  | 0
37 |  | 0
38 |  | 0
39 |  | 0 |  | CAPABILITY (CMK)
40 |  | 0
41 |  | 0 |  | USL - X AVERAGE
42 |  | 0 |  | 3SD
43 |  | 0 |  |  | #DIV/0!
44 |  | 0 |  | OR
45 |  | 0
46 |  | 0 |  | X AVERAGE - LSL
47 |  | 0 |  | 3SD
48 |  | 0 |  |  | #DIV/0!
49 |  | 0 |  | = CMK | #DIV/0!
50 |  | 0
|  |  |  | MAX VALUE | 10
|  |  |  | MIN VALUE | 10
X SUM | 10 | 100
X AVERAGE | 10 |  |  | Date:
RANGE | 0
Scaroni Consulting |  | http:/www.scaroniconsulting.it |  | Signed:
NOTE: DO NOT USE SPACE BAR TO DELETE DATA FROM
COMPONENT DIMENSION SIZE CELLS (ERROR WILL OCCUR)
TO CHECK:THE NUMBER OF SAMPLES YOU HAVE:
ENETERED IN THIS ANALYSIS IS |  |  | 1
IF THIS IS NOT CORRECT ENSURE ALL BLANK CELLS ARE
CLEARED BY HIGHLIGHTING THEM AND USING DELETE KEY.