{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Calcolo","Spiegazioni","Foglio3"],"not_rendered":{"images":2,"external_links":1,"comments":8},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Calcolo","index":0,"n_rows":112,"n_cols":15,"rows_kept":112,"flags":["formulas_cached_only"]}
["Ea",1.15e-05,5,5.75e-05,null,null,"VEDI FOGLIO SPIEGAZIONI"]
[]
[null,"Ic","ir","Em","Es","Ea","Ed",{"$nulls":5},"Somma","Uc","Uce"]
[1,6e-05,2e-05,0.01,0.01,5.75e-05,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,1.1046977847572588e-09,6.682812343546394e-05,0.008174846997679158,0.016349693995358315]
[2,6e-05,2e-05,0.01,0.01,0.000115,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,4.418791139029035e-09,6.68314375288182e-05,0.008175049695801134,0.016350099391602268]
[3,6e-05,2e-05,0.01,0.01,0.00017250000000000002,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,9.942280062815332e-09,6.6836961017742e-05,0.008175387514836345,0.01635077502967269]
[4,6e-05,2e-05,0.01,0.01,0.00023,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,1.767516455611614e-08,6.68446939022353e-05,0.008175860438035577,0.016351720876071153]
[5,6e-05,2e-05,0.01,0.01,0.0002875,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,2.7617444618931472e-08,6.68546361822981e-05,0.008176468441955739,0.016352936883911477]
[6,6e-05,2e-05,0.01,0.01,0.00034500000000000004,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,3.976912025126133e-08,6.686678785793043e-05,0.008177211496465676,0.016354422992931352]
[7,6e-05,2e-05,0.01,0.01,0.0004025,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,5.413019145310569e-08,6.688114892913228e-05,0.008178089564753634,0.016356179129507268]
[8,6e-05,2e-05,0.01,0.01,0.00046,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,7.070065822446456e-08,6.689771939590364e-05,0.00817910260333636,0.01635820520667272]
[9,6e-05,2e-05,0.01,0.01,0.0005175000000000001,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,8.948052056533799e-08,6.691649925824451e-05,0.008180250562069875,0.01636050112413975]
[10,6e-05,2e-05,0.01,0.01,0.000575,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,1.1046977847572589e-07,6.69374885161549e-05,0.008181533384161853,0.016363066768323706]
[11,6e-05,2e-05,0.01,0.01,0.0006325,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,1.3366843195562832e-07,6.69606871696348e-05,0.008182951006185653,0.016365902012371307]
[12,6e-05,2e-05,0.01,0.01,0.0006900000000000001,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,1.590764810050453e-07,6.698609521868423e-05,0.00818450335809597,0.01636900671619194]
[13,6e-05,2e-05,0.01,0.01,0.0007475,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,1.8669392562397676e-07,6.701371266330316e-05,0.00818619036324609,0.01637238072649218]
[14,6e-05,2e-05,0.01,0.01,0.000805,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,2.1652076581242276e-07,6.704353950349159e-05,0.008188011938406757,0.016376023876813514]
[15,6e-05,2e-05,0.01,0.01,0.0008625,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,2.485570015703832e-07,6.707557573924956e-05,0.00818996799378664,0.01637993598757328]
[16,6e-05,2e-05,0.01,0.01,0.00092,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,2.8280263289785824e-07,6.710982137057703e-05,0.008192058433054358,0.016384116866108717]
[17,6e-05,2e-05,0.01,0.01,0.0009775,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,3.1925765979484793e-07,6.714627639747402e-05,0.008194283153362106,0.016388566306724212]
[18,6e-05,2e-05,0.01,0.01,0.0010350000000000001,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,3.5792208226135196e-07,6.718494081994053e-05,0.008196642045370808,0.016393284090741617]
[19,6e-05,2e-05,0.01,0.01,0.0010925,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,3.9879590029737045e-07,6.722581463797655e-05,0.008199134993276824,0.016398269986553648]
[20,6e-05,2e-05,0.01,0.01,0.00115,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,4.4187911390290355e-07,6.726889785158208e-05,0.008201761874840192,0.016403523749680383]
[21,6e-05,2e-05,0.01,0.01,0.0012075,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,4.871717230779512e-07,6.731419046075712e-05,0.008204522561414353,0.016409045122828706]
[22,6e-05,2e-05,0.01,0.01,0.001265,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,5.346737278225133e-07,6.73616924655017e-05,0.008207416917977403,0.016414833835954806]
[23,6e-05,2e-05,0.01,0.01,0.0013225,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,5.843851281365901e-07,6.741140386581577e-05,0.008210444803164794,0.016420889606329588]
[24,6e-05,2e-05,0.01,0.01,0.0013800000000000002,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,6.363059240201812e-07,6.746332466169935e-05,0.008213606069303504,0.016427212138607008]
[25,6e-05,2e-05,0.01,0.01,0.0014375,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,6.904361154732868e-07,6.751745485315247e-05,0.008216900562447648,0.016433801124895297]
[26,6e-05,2e-05,0.01,0.01,0.001495,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,7.46775702495907e-07,6.757379444017509e-05,0.008220328122415497,0.016440656244830994]
[27,6e-05,2e-05,0.01,0.01,0.0015525,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,8.053246850880418e-07,6.763234342276721e-05,0.008223888582827908,0.016447777165655816]
[28,6e-05,2e-05,0.01,0.01,0.00161,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,8.66083063249691e-07,6.769310180092887e-05,0.008227581771148122,0.016455163542296244]
[29,6e-05,2e-05,0.01,0.01,0.0016675000000000001,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,9.290508369808549e-07,6.775606957466003e-05,0.008231407508722918,0.016462815017445835]
[30,6e-05,2e-05,0.01,0.01,0.001725,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,9.942280062815329e-07,6.782124674396071e-05,0.008235365610825102,0.016470731221650204]
[31,6e-05,2e-05,0.01,0.01,0.0017825,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,1.0616145711517258e-06,6.78886333088309e-05,0.008239455886697307,0.016478911773394615]
[32,6e-05,2e-05,0.01,0.01,0.00184,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,1.131210531591433e-06,6.79582292692706e-05,0.008243678139597069,0.016487356279194138]
[33,6e-05,2e-05,0.01,0.01,0.0018975,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,1.203015887600655e-06,6.803003462527983e-05,0.008248032166843182,0.016496064333686365]
[34,6e-05,2e-05,0.01,0.01,0.001955,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,1.2770306391793917e-06,6.810404937685857e-05,0.008252517759863263,0.016505035519726527]
[35,6e-05,2e-05,0.01,0.01,0.0020125,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,1.3532547863276422e-06,6.818027352400682e-05,0.008257134704242558,0.016514269408485115]
[36,6e-05,2e-05,0.01,0.01,0.0020700000000000002,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,1.4316883290454079e-06,6.825870706672458e-05,0.008261882779773905,0.01652376555954781]
[37,6e-05,2e-05,0.01,0.01,0.0021275,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,1.5123312673326876e-06,6.833935000501187e-05,0.008266761760508879,0.016533523521017758]
[38,6e-05,2e-05,0.01,0.01,0.002185,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,1.5951836011894818e-06,6.842220233886866e-05,0.00827177141481005,0.0165435428296201]
[39,6e-05,2e-05,0.01,0.01,0.0022425,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,1.680245330615791e-06,6.850726406829497e-05,0.008276911505404353,0.016553823010808707]
[40,6e-05,2e-05,0.01,0.01,0.0023,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,1.7675164556116142e-06,6.85945351932908e-05,0.00828218178943754,0.01656436357887508]
[41,6e-05,2e-05,0.01,0.01,0.0023575000000000002,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,1.8569969761769524e-06,6.868401571385613e-05,0.008287582018529659,0.016575164037059317]
[42,6e-05,2e-05,0.01,0.01,0.002415,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,1.9486868923118046e-06,6.877570562999098e-05,0.008293111938831586,0.016586223877663172]
[43,6e-05,2e-05,0.01,0.01,0.0024725,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,2.042586204016171e-06,6.886960494169535e-05,0.008298771291082516,0.01659754258216503]
[44,6e-05,2e-05,0.01,0.01,0.00253,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,2.138694911290053e-06,6.896571364896923e-05,0.008304559810668428,0.016609119621336856]
[45,6e-05,2e-05,0.01,0.01,0.0025875,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,2.2370130141334487e-06,6.906403175181262e-05,0.00831047722768149,0.01662095445536298]
[46,6e-05,2e-05,0.01,0.01,0.002645,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,2.3375405125463605e-06,6.916455925022553e-05,0.00831652326698035,0.0166330465339607]
[47,6e-05,2e-05,0.01,0.01,0.0027025,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,2.440277406528785e-06,6.926729614420796e-05,0.008322697648251314,0.01664539529650263]
[48,6e-05,2e-05,0.01,0.01,0.0027600000000000003,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,2.545223696080725e-06,6.93722424337599e-05,0.00832900008607035,0.0166580001721407]
[49,6e-05,2e-05,0.01,0.01,0.0028175,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,2.652379381202179e-06,6.947939811888136e-05,0.00833543028996592,0.01667086057993184]
[50,6e-05,2e-05,0.01,0.01,0.002875,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,2.761744461893147e-06,6.958876319957232e-05,0.008341987964482586,0.016683975928965172]
[51,6e-05,2e-05,0.01,0.01,0.0029325,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,2.8733189381536306e-06,6.970033767583281e-05,0.00834867280924536,0.01669734561849072]
[52,6e-05,2e-05,0.01,0.01,0.00299,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,2.987102809983628e-06,6.981412154766281e-05,0.008355484519024783,0.016710969038049566]
[53,6e-05,2e-05,0.01,0.01,0.0030475000000000003,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,3.1030960773831406e-06,6.993011481506231e-05,0.008362422783802689,0.016724845567605378]
[54,6e-05,2e-05,0.01,0.01,0.003105,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,3.221298740352167e-06,7.004831747803135e-05,0.008369487288838627,0.016738974577677253]
[55,6e-05,2e-05,0.01,0.01,0.0031625,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,3.3417107988907078e-06,7.016872953656989e-05,0.008376677714736904,0.016753355429473808]
[56,6e-05,2e-05,0.01,0.01,0.00322,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,3.464332252998764e-06,7.029135099067794e-05,0.008383993737514236,0.016767987475028473]
[57,6e-05,2e-05,0.01,0.01,0.0032775,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,3.589163102676334e-06,7.041618184035552e-05,0.008391435028667953,0.016782870057335905]
[58,6e-05,2e-05,0.01,0.01,0.0033350000000000003,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,3.7162033479234197e-06,7.05432220856026e-05,0.008399001255244733,0.016798002510489466]
[59,6e-05,2e-05,0.01,0.01,0.0033925,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,3.845452988740018e-06,7.067247172641919e-05,0.008406692079909862,0.016813384159819724]
[60,6e-05,2e-05,0.01,0.01,0.00345,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,3.9769120251261316e-06,7.080393076280531e-05,0.008414507161016938,0.016829014322033875]
[61,6e-05,2e-05,0.01,0.01,0.0035075,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,4.110580457081761e-06,7.093759919476094e-05,0.00842244615267803,0.01684489230535606]
[62,6e-05,2e-05,0.01,0.01,0.003565,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,4.246458284606903e-06,7.107347702228608e-05,0.008430508704834251,0.016861017409668503]
[63,6e-05,2e-05,0.01,0.01,0.0036225000000000003,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,4.38454550770156e-06,7.121156424538073e-05,0.008438694463326702,0.016877388926653403]
[64,6e-05,2e-05,0.01,0.01,0.00368,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,4.524842126365732e-06,7.135186086404491e-05,0.00844700306996777,0.01689400613993554]
[65,6e-05,2e-05,0.01,0.01,0.0037375,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,4.667348140599418e-06,7.149436687827859e-05,0.008455434162612739,0.016910868325225478]
[66,6e-05,2e-05,0.01,0.01,0.003795,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,4.81206355040262e-06,7.16390822880818e-05,0.008463987375231711,0.016927974750463422]
[67,6e-05,2e-05,0.01,0.01,0.0038525,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,4.958988355775335e-06,7.17860070934545e-05,0.008472662337981758,0.016945324675963516]
[68,6e-05,2e-05,0.01,0.01,0.00391,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,5.108122556717567e-06,7.193514129439674e-05,0.008481458677279324,0.016962917354558647]
[69,6e-05,2e-05,0.01,0.01,0.0039675000000000005,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,5.25946615322931e-06,7.208648489090849e-05,0.008490376015872823,0.016980752031745646]
[70,6e-05,2e-05,0.01,0.01,0.004025,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,5.413019145310569e-06,7.224003788298974e-05,0.008499413972915412,0.016998827945830824]
[71,6e-05,2e-05,0.01,0.01,0.0040825,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,5.568781532961342e-06,7.239580027064051e-05,0.008508572164037895,0.01701714432807579]
[72,6e-05,2e-05,0.01,0.01,0.0041400000000000005,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,5.726753316181631e-06,7.25537720538608e-05,0.008517850201421765,0.01703570040284353]
[73,6e-05,2e-05,0.01,0.01,0.0041975,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,5.886934494971432e-06,7.27139532326506e-05,0.008527247693872309,0.017054495387744617]
[74,6e-05,2e-05,0.01,0.01,0.004255,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,6.04932506933075e-06,7.287634380700993e-05,0.008536764246891789,0.017073528493783578]
[75,6e-05,2e-05,0.01,0.01,0.0043125,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,6.2139250392595815e-06,7.304094377693875e-05,0.008546399462752648,0.017092798925505297]
[76,6e-05,2e-05,0.01,0.01,0.00437,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,6.380734404757927e-06,7.32077531424371e-05,0.008556152940570728,0.017112305881141456]
[77,6e-05,2e-05,0.01,0.01,0.0044275,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,6.549753165825787e-06,7.337677190350497e-05,0.008566024276378452,0.017132048552756903]
[78,6e-05,2e-05,0.01,0.01,0.004485,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,6.720981322463164e-06,7.354800006014234e-05,0.008576013063197977,0.017152026126395954]
[79,6e-05,2e-05,0.01,0.01,0.0045425000000000005,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,6.894418874670055e-06,7.372143761234922e-05,0.008586118891114262,0.017172237782228525]
[80,6e-05,2e-05,0.01,0.01,0.0046,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,7.070065822446457e-06,7.389708456012563e-05,0.008596341347348047,0.017192682694696093]
[81,6e-05,2e-05,0.01,0.01,0.0046575,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,7.247922165792377e-06,7.407494090347155e-05,0.008606680016328685,0.01721336003265737]
[82,6e-05,2e-05,0.01,0.01,0.0047150000000000004,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,7.4279879047078096e-06,7.425500664238698e-05,0.008617134479766867,0.017234268959533734]
[83,6e-05,2e-05,0.01,0.01,0.0047725,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,7.610263039192757e-06,7.443728177687193e-05,0.008627704316727129,0.017255408633454258]
[84,6e-05,2e-05,0.01,0.01,0.00483,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,7.794747569247219e-06,7.462176630692639e-05,0.008638389103700203,0.017276778207400405]
[85,6e-05,2e-05,0.01,0.01,0.0048875,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,7.981441494871197e-06,7.480846023255037e-05,0.008649188414675123,0.017298376829350245]
[86,6e-05,2e-05,0.01,0.01,0.004945,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,8.170344816064685e-06,7.499736355374386e-05,0.008660101821211103,0.017320203642422205]
[87,6e-05,2e-05,0.01,0.01,0.0050025,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,8.361457532827694e-06,7.518847627050686e-05,0.008671128892509145,0.01734225778501829]
[88,6e-05,2e-05,0.01,0.01,0.00506,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,8.554779645160212e-06,7.538179838283939e-05,0.008682269195483367,0.017364538390966733]
[89,6e-05,2e-05,0.01,0.01,0.0051175000000000005,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,8.75031115306225e-06,7.557732989074143e-05,0.008693522294832022,0.017387044589664044]
[90,6e-05,2e-05,0.01,0.01,0.005175,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,8.948052056533795e-06,7.577507079421297e-05,0.00870488775310819,0.01740977550621638]
[91,6e-05,2e-05,0.01,0.01,0.0052325,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,9.148002355574861e-06,7.597502109325403e-05,0.008716365130790129,0.017432730261580258]
[92,6e-05,2e-05,0.01,0.01,0.00529,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,9.350162050185442e-06,7.617718078786462e-05,0.008727953986351247,0.017455907972702495]
[93,6e-05,2e-05,0.01,0.01,0.0053475,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,9.55453114036553e-06,7.638154987804471e-05,0.008739653876329698,0.017479307752659396]
[94,6e-05,2e-05,0.01,0.01,0.005405,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,9.76110962611514e-06,7.658812836379432e-05,0.008751464355397576,0.017502928710795153]
[95,6e-05,2e-05,0.01,0.01,0.0054625,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,9.969897507434262e-06,7.679691624511343e-05,0.008763384976429681,0.017526769952859362]
[96,6e-05,2e-05,0.01,0.01,0.005520000000000001,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,1.01808947843229e-05,7.700791352200208e-05,0.00877541529057184,0.01755083058114368]
[97,6e-05,2e-05,0.01,0.01,0.0055775,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,1.0394101456781049e-05,7.722112019446022e-05,0.00878755484730879,0.01757510969461758]
[98,6e-05,2e-05,0.01,0.01,0.005635,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,1.0609517524808716e-05,7.743653626248789e-05,0.008799803194531563,0.017599606389063126]
[99,6e-05,2e-05,0.01,0.01,0.0056925000000000005,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,1.0827142988405895e-05,7.765416172608508e-05,0.008812159878604398,0.017624319757208795]
[100,6e-05,2e-05,0.01,0.01,0.00575,"===",1.8e-09,4.0000000000000007e-10,3.341240936883959e-05,3.341240936883959e-05,1.1046977847572588e-05,7.787399658525176e-05,0.00882462444443115,0.0176492488888623]
[]
[]
[]
[{"$nulls":3},"Em da misurare"]
[10,0.0013,0.001,0.002,0,0.000575,null,8.45e-07,1e-06,1.3364963747535836e-06,0,1.1046977847572589e-07,3.2919661532293095e-06,0.0018143776214529625,0.003628755242905925]
[50,0.0013,0.001,0.002,null,0.002875,null,8.45e-07,1e-06,1.3364963747535836e-06,0,2.761744461893147e-06,5.943240836646731e-06,0.0024378762964200485,0.004875752592840097]
[100,0.0013,0.001,0.002,null,0.00575,null,8.45e-07,1e-06,1.3364963747535836e-06,0,1.1046977847572588e-05,1.4228474222326172e-05,0.0037720649811908294,0.007544129962381659]
[150,0.003,0.001,0.002,null,0.008625,null,4.5e-06,1e-06,1.3364963747535836e-06,0,2.4855700157038326e-05,3.1692196531791906e-05,0.005629582269741859,0.011259164539483718]
[200,0.003,0.001,0.002,null,0.0115,null,4.5e-06,1e-06,1.3364963747535836e-06,0,4.4187911390290354e-05,5.102440776504394e-05,0.007143137109494955,0.01428627421898991]

{"sheet":"Spiegazioni","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Foglio3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}